List of Contractor Design Items

CONTRACTOR DESIGN ITEMS

Description

- Reinstatement of 2nr Solar PV arrays in accordance with Sika Sarnafil roofing standards to comply with roofing warranty.

- Reinstatement of 2nr Bathroom mechanical extracts in accordance with Sika Sarnafil roofing standards to comply with roofing warranty.

- Reinstatement of 2nr Rooflights in accordance with Sika Sarnafil roofing standards to comply with roofing warranty.

- Replacement of bargeboards and fascias to pitched roof areas in conjunction with roof upgrade works to Sika Sarnafil roofing standards to comply with roofing warranty.

- Reinstatement of rainwater goods in accordance with Sika Sarnafil roofing standards to comply with roofing warranty.

- Installation of lightning protection system in accordance with Sika Sarnafil roofing standards to comply with roofing warranty.