## Builders Work
Council of the Isles of Scilly
Off Island Toilets and Fire Station
Schedule of Works
St Martins WC - Builders Work
Duplicate item of work
Ref | Description | Quantity | Unit | Rate | £
External
3.3.1 | External timber cladding re-decorations Allow to treat all external timber cladding boards with ‘No Nonsense Wood Treatment’ or similar, Colour: Dark Brown to match existing. Refer to ‘External Redecorations – Timber Surfaces’ specification item 5.0. |  | Item
3.3.2 | Timber fascia/soffits boards weathered exhibiting minor decay Allow to carefully remove uPVC guttering and fixtures and set aside for later re-use. Allow for localised timber repair and treatment. Redecorate all timber fascia’s and soffits to achieve uniform appearance, colour: white. Refer to ‘External Redecorations – Timber Surfaces’ specification item 5.0. Contractor to provide cost per l/m for over capping with white uPVC fascia and soffits: ________ l/m |  | Item
3.3.3 | Rainwater goods reinstatement Allow to re-instate existing uPVC rainwater goods and fixtures ensuring downpipes are aligned correctly to existing underground drainage and guttering laid to appropriate falls. Upon completion, flush through and adjust falls where necessary and repair any leaking joints. |  | Item
3.3.4 | Timber framed windows and entrance doors weathering Contractor to redecorate previously painted timber elements to windows and doors. Refer to ‘External Redecorations – Timber Surfaces’ specification item 5.0. Allow for internal redecoration to the inner face of the windows and doors using a Dulux trade paint to match the existing finishes. Allow for localised repairs to timbers and easing and adjusting to ensure smooth operation of opening parts upon completion. |  | Item
3.3.5 | Safety glazing film Allow to supply and install anti-shatter safety glazing film to all single glazing. |  | Item
3.3.6 | Previously painted masonry surfaces re-decorations Allow to undertake localised repairs and redecorate external rendered walls to match existing. Refer to ‘External Redecorations – Masonry Surfaces’ specification item 4.0. |  | Item
3.3.7 | To the entrance doors (3nr) the closers are heavily corroded and rusted. Allow to remove corroded closers and supply and replace with new closers to match existing configuration. |  | Item
3.3.8 | There is a localised hole opened up in the concrete external finish which we understand has been present since drainage works were undertaken circa 8 years ago, as a result of ground movement following the works. The ground to this area has a high sand content and is suspectable to movement. Provisional sum – works to be specified by civil engineer and provided to the contractor. |  | Provisional Sum |  | 5000
| Internal |  |  |  |  | 0
3.3.9 | Roof dampness and active woodworm Allow to treat all roof timber with ‘Sika Sikaguard Woodworm killer’ or similar approved in strict accordance with manufacturer’s instructions. Remedial works subject to further investigation to roof void and covering for signs of potential water ingress. CA to issue instruction upon result of survey. |  | Item
3.3.10 | Sanitaryware soiled and worn - Strip-out Allow to decommission existing sanitary installations and strip out all WC’s, urinals, sinks, associated pipework and cubicle partitions, contractor to dispose of from site. Carefully remove soap dispensers, paper hand towel dispensers and hand dryers, set aside in secure locations. Contractor to notify CA of any additional fixtures and fittings within WC’s for removal instructions. |  | Item
3.3.11 | The ceiling finish is pitted and deteriorated internally. Allow to remove the existing ceiling and replace with modern plasterboard – ‘Gyproc multiboard’ or similar approved. Allow to skim the ceiling face with ceiling plaster and decorate the internal face with 2nr coats of Dulux Trade white emulsion. Provisional area for pricing purposes: 18m² |  | Item
3.3.12 | Wall boarding Allow to install hygienic Fibo (previously known as Respatex) wall boards at full heigh to internal wall surfaces. Colour and style TBC. |  | Item
3.3.13 | Floor tiling in poor condition Allow to supply and install new ‘Altro Aquaris Safety Flooring’ or similar approved in strict accordance with manufacturer’s instructions. Allow for the preparation of sub-base and overlaying existing quarry tiles in accordance with manufactures recommendations. Contractor to allow for any easing/adjustment required to door thresholds to maintain operation. Contractor to provide m² rate for repairs to de-bonded quarry tiles in preparations for latex: _________m² |  | Item
0
3.3.14 | Cubicles Allow to supply and install new ‘Venesta Centurion’ cubicle partitions or similar approved in accordance with manufacturer’s instructions. Standard height, colour TBC. Arrangement to match existing configurations. |  | Item
3.3.15 | Ancillary item re-instatement (Paper towel dispensers / soap dispensers etc.) Allow to fix only CIOS provided / retained existing plastic paper towel dispensers / soap dispensers. |  | Item
3.3.17 | No hot water currently servicing handwash basins Allow to install point-of-use electric hot water heater to supply hand was basins. Heater to be installed within protected, accessible boxing in. Contractor to submit proposal for approval by CA. |  | Contractors Design
0

## Plumbing & Mechanical
Council of the Isles of Scilly
Off Island Toilets and Fire Station
Schedule of Works
St Martins WC - Plumbing
Duplicate item of work
Ref | Description | Quantity | Unit | Rate | £
3.3.10 | Sanitaryware soiled and worn - Strip-out Allow to decommission existing sanitary installations and strip out all WC’s, urinals, sinks, associated pipework and cubicle partitions, contractor to dispose of from site. Carefully remove soap dispensers, paper hand towel dispensers and hand dryers, set aside in secure locations. Contractor to notify CA of any additional fixtures and fittings within WC’s for removal instructions. |  | Item
3.3.16 | Sanitaryware installations - Replacement Contractor to submit proposal for approval to include full sanitaryware replacement including toilets, sinks and urinals with all associated pipework and fixtures to match existing arrangements and capacity. Design must incorporate water saving measures such as low flushing services, tap aerators and waterless urinals. Ideal Standard Ltd (Armitage Shanks) suite of products or similar approved. Web: https://www.armitageshanks-mena.com/homepage.html Toilets - Type: Close-coupled, Floor mounted - Material: Vitreous China, white BS 3402 - Flush: Push-button Sinks - Type: Wall mounted - Taps: Self-closing pillar taps - Material: Vitreous China, white BS 3402 Urinals - Type: Wall mounted - Waste: Waterless urinal, concealed waste - Material: Vitreous China, white BS 3402 |  | Contractors Design
3.3.22 | No access to pump which is thought to be pumping dirty water from the underground tank to the WC's tank causing blockages Allow to investigate, flush through prior to installation of new systems. |  | Contractors Design
3.3.23 | No access to pump which is thought to be pumping dirty water from the underground tank to the WC's tank causing blockages Upon approval for new direct SWW connection, provisionally allow to decommission, strip down and remove redundant system and storage tanks. |  | Contractors Design
0
0
0

## Electrical
Council of the Isles of Scilly
Off Island Toilets and Fire Station
Schedule of Works
St Martins WC - Electrical
Duplicate item of work
Ref | Description | Quantity | Unit | Rate | £
3.3.17 | No hot water currently servicing handwash basins Allow to install point-of-use electric hot water heater to supply hand was basins. Heater to be installed within protected, accessible boxing in. Contractor to submit proposal for approval by CA. |  | Contractors Design
3.3.18 | External lighting and photocell diffuser degraded Allow to remove external lighting and photocell diffuser and replace with new to match the existing. |  | Contractors Design
3.3.19 | PVC Distribution Board Allow to replace PVC distribution board with metal fireproof board in accordance with BS 7671. |  | Contractors Design
3.3.20 | Incoming LV ducts require sealing to prevent vermin access Seal LV ducts. |  | Contractors Design
3.3.21 | IP socket damaged and needs replacing Allow to supply and replace IP socket. |  | Contractors Design
0
0
0