## Summary Page
Council of the Isles of Scilly
Cultural Centre & Museum - Kitchen Fit Out
TENDER - SUMMARY PAGE
Ref | Description | Element Total
1 | FROM COLLECTION PAGE | 0
2 | OVERHEAD & PROFIT | 0
TOTAL TO FORM OF TENDER |  | 0
1 | SEPARATE COST FOR MAINTENANCE OF EQUIPMENT | 0
TOTAL FOR MAINTENANCE |  | 0
8
8
8

## Collection Page
Council of the Isles of Scilly
Cultural Centre & Museum - Kitchen Fit Out
TENDER RETURN COLLECTION PAGE
Ref | Description | Element Total
1 | Measured Works | 0
2 | Preliminaries | 0
TOTAL TO SUMMARY PAGE |  | 0
8
8
8

## Measured Works
3.0 ITEMISED EQUIPMENT SPECIFICATION - CAFÉ BAR & KITCHEN
Item No: | Description |  | Supplier |  | Make/Model |  | Dimensions W D H mm |  | Electrical Services |  | Water Services | Drainage | Notes/ Extras | Price
1 | Wash hand basin |  | Fabrication |  | Fabrication |  | 240 diameter |  | - |  | 15 mm hot & cold connections | 32 mm waste | Hand wash basin inset in table item 2 with hands’ free mixer tap.
2 | Stainless tabling |  | Fabrication |  | Fabrication |  | 420 x 800 x 900 nb chamfered corner |  | - |  | - | - | Fully stainless with square front edge; 200 mm splashback - with inset wash hand basin (item 1 above).
2a | Pass counter |  | Fabrication |  | Fabrication |  | 1240 x 500 x 900 (gantry 360 w x 600 h) |  | 13 AMP SSO or hard wired via MCB + data point for kitchen printer |  | - | - | Fully stainless pass unit and gantry, hot cupboard under with single sliding door. Pass counter worktop to extend flush through and under gantry to form part of rear service counter worktop. Gantry with two tiered shelf with 8 x’s 300 watt quartz lamps to underside of each shelf as shown on plan; lamp tiers to be independently controllable. Include kitchen order /ticket grabber.
2b | Stainless tabling with prep’ sink |  | Fabrication |  | Fabrication |  | 1200 x 750 x 900 |  | - |  | - | - | Fully stainless with square front edge; 200 mm splashback - with inset prep’ sink: 400 mm x 330 mm x 300 mm deep sink bowl fitted with hot and cold water Aquajet AJ-B- 3SG6L taps.
2c | Stainless tabling |  | Fabrication |  | Fabrication |  | 1500 x 650 x 900 nb chamfered corner and angled wall |  | - |  | - | - | Fully stainless with square front edge; 200 mm splashback.
Item No: | Description |  | Supplier |  | Make/Model |  | Dimensions W D H mm |  | Electrical Services |  | Water Services | Drainage | Notes/ Extras
2d | Stainless tabling |  | Fabrication |  | Fabrication |  | See drawing noting curved edge to suit wall |  | - |  | - | - | Fully stainless with square front edge; 200 mm splashback; splashback detailing under servery to suit site build
3 | 10 grid combination oven |  | Rational |  | 10-1/1 iCombiPro |  | 850 x 842 x 1014 |  | 400V 3 phase 32 AMP/ phase (18.9 kW) |  | 20 mm cold connections | 50 mm tundish drain | Sited on stand with 14 runners under for 1/1 GN trays 60.31.086. Right hand hinged door. Allow for including water softener.
4 | Induction hob & oven |  | Falcon |  | E3913i |  | 900 x 770 x 890 |  | 20 kW, /3 phase, 63 AMP |  | - | -
4a | Salamander grill |  | Falcon |  | E3532 |  | 785 x 355 x 350 |  | 3.9 kW, single phase, 16.7 AMP |  | - | -
5 | Double upright fridge |  | Fosters |  | FSL 800 H |  | 1200 x 705 x 1800 |  | 13 AMP SSO |  | - | -
6 | Wash-up tabling sink |  | Fabrication |  | Fabrication |  | 2800 x 630 x 900 |  | - |  | 15 mm hot & cold connections | 32 mm waste | Fully stainless with square front edge; 300 mm splashback - with 400 mm x 330 mm x 300 mm deep sink bowl with taps and pre wash faucet AquaJet AJPR10-ST-BF3-W. Inlet table to allow for bin (item 7 under) and include lockable cupboard under. Outlet table to include under counter wash basket racks for D/W racks.
7 | Counter bin x’s 3 |  | Rubbermaid |  | 26.6 L - grey |  | - |  | - |  | - | -
8 | Drain dosing unit x’s 2 |  | Mechline |  | B10-1001U |  | 525 x 450 |  | 13 AMP hard wired |  | - | - | To be co-ordinated with wash sink outlet. Mechline GreasePAK to be sited @ drain point. To be provided complete with initial supply of detergent.
n.b. Dimensions of all fabrications to be checked and fabricated based on site survey
Item No: | Description |  | Supplier |  | Make/Model |  | Dimensions W D H mm |  | Electrical Services |  | Water Services | Drainage | Notes/ Extras
9 | Dishwasher |  | Hobart Premax |  | FPSW-10B |  | 600 x 652 x 820 |  | 6.8 kW 3 phase |  | 22 mm – supply 10 to 50 C @ 0.5 – max’ 10 bar pressure - flow rate up to 30 litres/minute | 40 mm trapped standpipe @ max’ 800mm AFFL – flow rate up to 30 litres/minute | -
10a | Counter fridge |  | Fosters |  | HR150 |  | 605 x 640 x 830 |  | 13 AMP SSO |  | - | - | -
10a | Counter freezer x’s 2 |  | Fosters |  | LR150 |  | 605 x 640 x 830 |  | 13 amp SSO |  | - | - | -
11 | Ventilation canopy |  | Halton |  | KVF |  | 2700 x 650 x 555 |  | Singe phase supply for lighting and fan controls. |  | - | - | Extract canopy with integral LED lighting. Extract rate 0.63 m3/sec. Full height stainless cladding behind canopy. To include Ansul system. See Halton details.
12 | Mobile stainless tabling |  | Fabrication |  | Fabrication |  | 980 x 400 x 900 |  | - |  | - | - | Fully stainless with square front edge; with counter drawer and lockable castor feet.
13 | - |  | - |  | - |  | - |  | - |  | - | - | -
14 | Storage racking x’s 2 |  | EAIS |  | EZ silver seal |  | 1000 W x 400 D |  | - |  | - | -
15 | Wall shelves x’s 3 |  | Fabrication |  | Fabrication |  | 1200 W |  | N/A |  | - | - | Two tiered fully stainless with cantilever brackets - set at 1500 AFFL and 1800.
n.b. Dimensions of all fabrications to be checked and fabricated based on site survey
Item No: | Description |  | Supplier |  | Make/Model |  | Dimensions W D H mm |  | Electrical Services |  | Water Services | Drainage | Notes/ Extras
16 | Trolley |  | Cambro |  | BC331KD |  | 540 x 1015 x 950 |  | - |  | - | - | -
17 | Flying insect killer x’s 2 |  | Mechline Caterzap |  | CZP EP AT20S |  | 288 x 256 x 105 |  | 13 AMP hard wired |  | N/A | N/A | Wall mounted
18 | -
19 | -
20 | Café counter |  | Refer main contract | [5 empty] | See individual items of equipment |  |  |  | By others
21 | Counter top ambient display |  | Fabrication |  | Fabrication |  | 470 x 370 x 350 |  | - |  | - | - | Free-standing glass counter top display
22 | Ice machine |  | Scotsman |  | EC57 EcoX |  | 386 x 600 x 695 |  | 13 amp supply with isolator - 1.125 kW |  | 22 mm C potable supply | 22 mm waste | Include HF20-S water softner
23 | Rear counter with sink |  | Fabrication |  | Fabrication |  | 3200 x 650 x 900 |  | See individual items of equipment |  |  |  | Fully stainless café bar counter and structure with shelving and cupboards - space under for equipment - see elevation for intent. Inset hand wash basin and hands’ free mixer tap.
24 | Counter fridge |  | Fosters |  | HR150 |  | 605 x 640 x 830 |  | 13 AMP SSO |  | - | - | -
n.b. Dimensions of all fabrications to be checked and fabricated based on site survey
Item No: | Description |  | Supplier |  | Make/Model |  | Dimensions W D H mm |  | Electrical Services |  | Water Services | Drainage | Notes/ Extras
25 | Bottle cooler |  | Fosters/ Gamko |  | LG3/ 150GCS |  | 600 x 576 x 850 |  | 13 AMP SSO with isolator |  | - | -
26 | Coffee machine |  | La Cimbali |  | M26 DT2 |  | 794 x 528 x 548 |  | 32 amp single phase 3.5 kW |  | 15 mm H&C supplies | 32 mm waste | 2 group Tall cup. With relevant water softener.
| Coffee grinder |  | La Cimbali |  | Elective grinder |  | 215 x 400 x 580 |  | 13 amp SSO |  | - | - | With knock out drawer under.
| Hot water boiler |  | Marco |  | Eco T10 |  | 210 x 463 x 590 |  | 2.8 kW 13 amp SSO |  | 15 mm cold supply | -
27 | Multideck display |  | Counterline |  | idesign Self help: MC3ASMD4- GC. IR52 |  | 1525 x 560 x 1357 |  | 13 amp SSO |  | - | -
28 | EPoS x’s 3 |  | By others |  | - |  | - |  | Twin 13 AMP SSO with data at each EPoS location |  |  |  | By others
First floor bar
UB1 | Counter sink |  | Fabrication |  | Fabrication |  | 400 x 330 x 300 |  | - |  | 15 mm H&C supplies | 32 mm waste | Stainless sink: 400 mm x 330 mm x 300 mm deep sink bowl fitted with hot and cold water Aquajet AJ-B-3SG6L taps.
UB2 | Counter bin |  | Rubbermaid |  | 26.6 L - grey |  | - |  | - |  | - | -
UB3 | Glasswasher |  | Hobart |  | ECO+G515S W-10C |  | 600 x 600 x 825 |  | 7.5 kw 3 phase Hard wired |  | 15 mm hot & supplies | 32 mm waste with drain pump | With in-built softener
UB4 | Bottle cooler x’s 2 |  | Fosters/ Gamko |  | LG3/ 150GCS |  | 600 x 576 x 850 |  | 13 AMP SSO with isolator
Other items |  | Supplier |  | Make/Model |  | Dimensions W D H mm |  | Electrical Services |  | Water Services |  | Drainage | Notes/ Extras
Kitchen floor finish |  | Altro |  | Stronghold |  | To cover full extent of kitchen floors |  | - |  | - |  | - | With wall coving. Colour – Skyline K30332
Kitchen wall finish |  | Altro |  | Whiterock |  | To full height Sheet 3000 x 1200 |  | - |  | - |  | - | With H piece connection to floor finish. Colour – Echo
Kitchen ceiling finish |  | Armstrong |  | Parafon Hygiene |  | Each 600 x 600 |  | - |  | - |  | - | With Prelude 24 CR TL grid frame and LED lighting. Height of suspended ceiling TBA with architects.
Cost to collection page

## Prelims
Council of the Isles of Scilly
Cultural Centre & Museum - Kitchen Fit Out
PRELIMINARIES TEMPLATE
DESCRIPTION |  | Weeks | £/Wk | Nr. Of Units | Set Up £ | Removal £ | TOTAL
SITE STAFF | CONSTRUCTION MANAGER
CONTRACTS MANAGER
SITE MANAGER
GENERAL FORMEMAN
MANAGING COMMERICAL TEAM
COMMERCIAL TEAM
TRADES FOREMAN
ENGINEER/SETTING OUT
PLANNER
CONTRACT MANAGER PRECONSTRUCTION
COMMERCIAL TEAM PRECONSTRUCTION
PLANNER PRECONSTRUCTION
SAFETY OFFICER
SITE ACC. | OFFICES INC. EQUIPMENT
STORES
ERECT/DISMANTLE/TRANSPORT
COMPOUND
OFFICE EQUIP | TELEPHONE INSTALL.
RENTAL
CALLS
ACCESS | EXTERNAL – ADAPTIONS
INTERNAL
HOIST TOWERS/CAGE/RUNNERS
EXTERNAL LOADING TOWERS
HANDRAILS
MOBILES
SAFETY NETTING
PLANT | HOIST
TOWER CRANES INC. POWER, SKIPS, CAGES, ETC
MOBILE CRANES
CONCRETE PUMPS
FORK LIFT
MIXERS
COMPRESSOR AND EQUIPMENT
VIBRATORS AND EQUIPMENT SCREEDERS ETC
SAW BENCH/SKILL SAW ETC
SMALL TOOLS CHAIN BLOCKS ETC
SKIPS
TRANSPORT EQUIPMENT
VANS/BUS
| Page 1 | Carried Forward to Page 2 £
DESCRIPTION |  | Weeks | £/Wk | Nr. Of Units | Set Up £ | Removal £ | TOTAL
Brought Forward from Page 1 £
GENERAL | PUMPING
SECURITY/LIGHTING/WATCHMAN
SAMPLES
CLEAN SITE/BUILDINGS/ROADS
CONSUMABLE STORES
SIGN BOARD/SITE SIGNS
MANUALS & DRAWINGS
PROTECTION
SPECIAL OPERATIVES | CRANE BANKSMAN
HOIST DRIVER ETC
SCAFFOLDER/ELECTRICIAN
LABOURER
OTHERS
ANY OTHER ITEMS | PHOTOGRAPHS
CONDITION SURVEY
TEMP ELECTRICS
TEMP WATER CONNECTION
TEMP DRAINAGE CONNECTION
REMOVE & MAKE GOOD CONNECTIONS
SAFETY EQUIPMENT
INSURANCE
CONSIDERATE CONTRACTORS
Contractor to list additional items as required:
| Page 2 CARRIED FORWARD TO GENERAL SUMMARY | TOTAL £ |  |  |  |  | 0

## Maintenance
Council of the Isles of Scilly
Cultural Centre & Museum - Kitchen Fit Out
MAINTENANCE OF EQUIPMENT - POST COMPLETION
DESCRIPTION |  | Cost | Nr of visits | Accomodation required? | Nr of personnel | Other | Cost
EQUIPMENT | CONTRACTOR TO LIST
| Page 1 CARRIED FORWARD TO GENERAL SUMMARY | Carried Forward to SUMMARY £ |  |  |  |  | 0